## Slide 1: Code Monkey Manifesto
Data Management, Analysis, and Delivery in Consulting

## Slide 2: Flow Guidelines
Design
Plan ahead with intention. Special cases and scratch code are abominations.
Modularize
All code should have a single utility and reference other code for additional utility.
All data should be separated by sensor type, unit type, site, and observation interval.
Document
Comment your code, write help files, describe your modules, and justify your calculations.
Germinalize
Variables influencing later calculations are prefered.
Automate
Use master files to implement flow phases.
Deliver
Design for the client not yourself. Modules should ferry specific items to following modules.

## Slide 3: Data Flow
Project Management:
Design
Collect
Data Management:
Import
Clean
Infer
Analysis:
Impute
Analyze
Delivery:
Delivery

## Slide 4: Design
Contract with client
Determine key analysis objectives
Design data collection
Initial variables prefered (e.g. temperature and gpm is better than a “btu meter”)

## Slide 5: Collect
Place physical meters in the field
Get data to the analysts (IT)

## Slide 6: Import
Transfer initial data logs to database
Append to database periodically and move log files to processed area
Separate by sensor types
Make the variable names consistent

## Slide 7: Clean
Crop bad data segments
Omit range violations
filter noise

## Slide 8: Infer
Create calculated variables
Perform unit conversions (e.g. Celsius to Fahrenheit)
Document justification for new variables

## Slide 9: Impute
Fill in missing data
Could be as simple as using WST as a proxy for OAT

## Slide 10: Analyze
Analyze data

## Slide 11: Deliver
Write a report as a product to be delivered
Gather all deliverables in a single location:
raw imported
cleaned datasets
inferred datasets
Imputed datasets
bad_data
usable_data
usable_range
site_info
ids_codes
Report
enduse_categories

## Slide 12: Folders

## Slide 13: Coding Best Practices
All code should have modular utility
Design module, write, test, comment, implement, help file, document
Code and data affected should have visual representation
Always assume your work will be revisited later..by you

## Slide 14: Code Testing Best Practices
Only use actual tempfiles, not datasets to be deleted. This allows parallel processing.